## Sheet1
FTS SW Rev | Device ID | Date | Time | Size | Operator | Results | LOT # | Input Script Revision | EEPROM Revision | Programming Results | GAINC Value | Pass/Fail # | [Target Loads] => [Gauge Load => Device Load (total) => Device Load (left) => Device Load (Right) => LoadSensors 0~5 => Reference => Battery]
SW-03004-002 Revision 8.1.1 | 1013 | 2016-05-19 | 11:08 | 9867 | sdf |  | 3384 | 11 | DWG-01000-001 | FAIL | EF