## Sheet1
FTS SW Rev | Device ID | Date | Time | Size | Operator | Results | LOT # | Input Script Revision | EEPROM Revision | Programming Results | GAINC Value | Pass/Fail # | [Target Loads] => [Gauge Load => Device Load (total) => Device Load (left) => Device Load (Right) => LoadSensors 0~5 => Reference => Battery]
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:53 | 6287 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:53 | 3917 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:54 | 6337 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:55 | 6782 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:55 | 4814 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:56 | 9769 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF
SW-03004-002 Revision 8.1.1 | 0 | 2016-05-19 | 10:57 | 4877 | zf |  | 9232 | 11 | DWG-01000-001 | FAIL | EF